| Lesson | Aiming for 4 |  | Aiming for 6 |  | Aiming for 8 |  |
| --- | --- | --- | --- | --- | --- | --- |
| P5.1 Alternating current | I can state that the UK mains supply is a high-voltage alternating current supply. |  | I can describe the characteristics of the UK mains supply. |  | I can explain the process of half-wave rectification of an a.c. source. |  |
|  | I can state simple differences between a.c. and d.c. sources. |  | I can compare a.c. traces in terms of period and amplitude (voltage). |  | I can analyse a.c. traces with an oscilloscope to determine the voltage and frequency. |  |
|  | I can describe how the trace on an oscilloscope changes when the frequency or amplitude of the signal is changed. |  | I can operate a cathode ray oscilloscope to display an a.c. trace. |  | I can compare and contrast the behaviour of electrons in a wire connected to d.c. and a.c. supplies. |  |
| P5.2 Cables and plugs | I can identify the live, neutral, and earth wires in a three-pin plug. |  | I can discuss the choices of materials used in cables and plugs in terms of their physical and electrical properties. |  | I can explain why it is not necessary for some appliances to be earthed. |  |
|  | I can identify the key components of a typical three-pin plug and socket. |  | I can describe why a short circuit inside a device presents a hazard. |  | I can explain when there will be a current in the live, neutral, and earth wires of an appliance. |  |
|  | I can identify simple and obvious hazards in electrical wiring. |  | I can identify a variety of electrical hazards associated with plugs and sockets. |  | I can discuss in detail the hazards associated with poor electrical wiring. |  |
| P5.3 Electrical power and potential difference | I can state that the power of a device is the amount of energy transferred by it each second. |  | I can calculate the power of systems. |  | I can measure and compare the power of electrical devices and explain variations in readings. |  |
|  | I can describe the factors that affect the rate of energy transfer by a current in a circuit. |  | I can calculate the power of electrical devices. |  | I can calculate the electrical heating caused by resistance. |  |
|  | I can explain why different fuses are required electrical devices in simple terms. |  | I can select an appropriate fuse for a device. |  | I can combine a variety of calculations to analyse electrical systems. |  |

| Lesson | Aiming for 4 |  | Aiming for 6 |  | Aiming for 8 |  |
| --- | --- | --- | --- | --- | --- | --- |
| P5.4 Electrical currents and energy transfer | I can state that an electric current consists of a flow of charge (electrons in a wire). |  | I can calculate the charge transferred by a current in a given time. |  | I can perform calculations involving rearrangement of the equations Q = It and E = VQ. |  |
|  | I can identify the factors that affect the energy transfers in a circuit. |  | I can calculate the energy transferred by a charge passing through a potential difference. |  | I can explain how energy is conserved in terms of current and p.d. during energy transfers by an electric current. |  |
|  | I can state that a battery or power supply provides energy to a current whereas a resistor causes a transfer of energy to the surroundings. |  | I can apply the law of conservation of energy in a circuit. |  | I can use algebra to combine the equations Q = It and E = VQ to form the relationships E = VIt and P = IV. |  |
| P5.5 Appliances and efficiency | I can describe the factors that affect the cost of using various electrical devices. |  | I can calculate energy transfer in kilowatt-hours. |  | I can convert between relevant units during calculations of energy transfer. |  |
|  | I can calculate energy transfer in joule. |  | I can convert between efficiencies stated in percentages and those stated in decimal forms. |  | I can analyse the use of a variety of electrical devices to determine their costs of operation. |  |
|  | I can state that energy transfer can be measured in kilowatt-hours. |  | I can calculate the power rating of a device from the energy transferred and the time of operation. |  | I can compare a range of electrical devices in terms of efficiency using calculations to support any conclusions. |  |